## Sheet1
迪卡侬上海徐泾店收银拆装报价
Quote Reference Number: Decathlon Shanghai Xujing Store
Created By: Ray
Quote Creation Date: 10/24/2016
Effective Period: Be effective within 1 months
End Customer: Decathlon Shanghai Xujing Store
Project: Decathlon Shanghai Xujing Store (201610013)
Specifications情况说明
1、This quotation is based on the location requested by store team； 该报价基于商店所要求,收银设备拆装；
S/N | Description | Brand | Model | Qty | Unit Price-RMB | Amount Price - RMB
A | Cabling Cost 店铺布线费用 （按实际材料消耗计算）（0个数据点）
A-1 | Cabling 材料费
1 | 86' Series Faceplate 单口面板 (1 port) | CommScope | EA | 0 | 14 | 0
2 | Cat.6 UTP RJ-45 Modular 六类非屏蔽模块 | CommScope | EA | 0 | 46 | 0
3 | 86 terminal tray 86明盒 | Local brand | EA | 0 | 2 | 0
4 | UTP,Cat. 6e,PVC 305米/箱 | CommScope | Box | 0 | 1180 | 0
5 | Pvc cable Pvc软管 | Local brand | Meter | 0 | 2 | 0
6 | 5cm steel tube for cashier 收银台钢管（打磨、焊接、安装、辅材） | Local brand | EA | 0 | 280 | 0
7 | Patch panel 1HU 跳线盘,空,24 SNAP-IN 模块,带CLIP-ON电缆导线架,托盘式 | CommScope | EA | 0 | 1285 | 0
8 | Cable arrangement panel 通用跳线导线架 1 HU，黑色 | CommScope | EA | 0 | 280 | 0
9 | RJ45 六类非屏蔽跳线 2M | CommScope | EA | 0 | 35 | 0
10 | 魔术贴、理线扣 |  | Batch | 0 | 150 | 0
11 | PDU 机柜专用PDU | Toten | EA | 0 | 355 | 0
12 | Label Tape 标签色带 | Brother | EA | 0 | 150 | 0
13 | Accessories 辅料一批（管夹、弯头、螺丝、直接、扎带等） | Local brand | Batch | 0 | 100 | 0
14 | Framework rental 脚手架租赁 |  | Day | 0 | 500 | 0
Material cost 材料费 | [5 empty] | 0
Transportation 运输费 | [5 empty] | 400
Transportation insurance 运保费 | [5 empty] | 0
Discount 折扣 | [5 empty] | 0
VAT Tax 增值税费 | [5 empty] | 24
SUB-TOTAL 综合布线小计 | [5 empty] | 424
B | Onsite Project Management Cost 开店在场项目管理费（按实际工作天及人数计算）
B-1 | Labor cost 人工费用
S/N | Amount&Day |  | Amount | Day | Unit Price-RMB | Total Price - RMB
1 | 施工人数&天数 |  | 1 | 0 | 1500 | 0
2 | Horizontal cable migration 水平线缆安装（夜间） |  | Meter | 0 | 2.5 | 0
3 | Pvc cable installation Pvc软管安装（夜间） |  | Meter | 0 | 2.5 | 0
4 | Cabling line arrangement of cashier 收银台安装 |  | Batch | 4 | 400 | 1600
5 | 5cm steel tube for cashier 收银台钢管（拆卸、安装、辅材） | Local brand | EA | 0 | 800 | 0
6 | Module & patch panel installation 端口安装（夜间） |  | EA | 0 | 35 | 0
7 | Module & patch panel installation 端口拆卸（夜间） |  | EA | 0 | 20 | 0
8 | Labeling 客户区面板、配架和跳线标签 |  | Batch | 0 | 0 | 0
9 | Site mapping & document 点位图整理及文档 |  | Batch | 0 | 0 | 0
VAT 税费 | [5 empty] | 96
Discount 折扣 | [5 empty] | 0
SUB-TOTAL 人工费小计 | [5 empty] | 1696
C | IT Devices Installation Cost IT设备安装调试及安装费 （按实际工作天计算及人数计算）
C-1 | Installation 装机费用
S/N | IT Our-Sourcing Installation |  | Amount | Day | Unit Price-RMB | Total Price - RMB
1 | IT 外包装机 |  | 0 | 0 | 1800 | 0
Discount 折扣 | [5 empty] | 0
SUB-TOTAL 机房及收银台小计 | [5 empty] | 0
D | 项目汇总信息： |  |  |  |  | 2120
备注：
1、Transportation 运输费 = 首重12+{25公斤-1公斤}X2续重 （此运输费只限江苏、浙江）
2、Transportation insurance 运保费 = 所有货物资产5‰（此运保费适应中国大陆）
3、VAT Tax 增值税费 ={（Material cost 材料费+ Transportation 运输费+Transportation insurance 运保费）- Discount 折扣}*6%
4、施工人数&天数单价1500（含税）、 IT 外包装机单价1800（含税）
TERMS:
1. Validity: This quotation is valid for 30 days.
2. The price quoted is includes VAT Service Tax and duties
3. Delivery lead time is 15 days
4. Factory warranty for all products supplied. 1 years of service guarantie from implementatoin team from the date of handover
5. Payment Terms:
- 50% within 15 days upon signature of commercial contract
- 50% within 15 days upon confirmation of project handover
CHINTEC Shanghai Co. Ltd.
2016.10.24